## Slide 1: Tutorial (Real example)
The GUI for imaging flow cytometry

## Slide 2: Step 1: Open the folder containing the GUI
Unzip the file: “scatter plot v2.10.zip”

## Slide 3: Step 2: Input Data
Copy all the images stored in the folder “test_1_img”
Open the folder “dataset”
Paste all of them into the folder “img”, which is inside the folder “Dataset 1”

## Slide 4: Step 2 (continue):
Copy all the images stored in the folder “test_2_img”
Open the folder “dataset”
Paste all of them into the folder “img”, which is inside the folder “Dataset 2”

## Slide 5: Step 2 (continue):
Open “unit.json” by double-clicking it

## Slide 6: Step 2 (continue):
Type in the units of the corresponding parameters that show up in “parameter1.xlsx” and “parameter2.xlsx”

## Slide 7: Step 3: Open the GUI
Open “index.html” by double-clicking it

## Slide 8: Step 3 (continue):
Drag the files that are stored inside the folder “dataset_xlsx” into the
circled region (in red)

## Slide 9: Step 3 (continue):
The interface after the files are dragged in

## Slide 10: Step 3 (continue):
Choose a parameter for x-axis from
(Area is chosen for this example):
Choose a parameter for y-axis from
(Vol is chosen for this example):
Click the “Submit” button:

## Slide 11: Step 3 (continue):
Click the circled button to choose the dataset to be displayed:

## Slide 12: Step 3 (continue):
Click “Dataset 1” to display dataset1

## Slide 13: Step 3 (continue):
Click the circled button again to choose the dataset to be displayed:

## Slide 14: Step 3 (continue):
Click “Dataset 2” to display dataset2

## Slide 15: Additional feature: View image and parameters
Move the cursor to one of the points
The corresponding image and also parameters of that point will be displayed in a pop-up window

## Slide 16: Additional feature: Change scale type
Different scales, including linear scale, log10 scale and log2 scale can be chosen individually for x-axis or y-axis from:

## Slide 17: Change scale type (continue):
In this example, move the cursor to the circled region and choose “Log 10” to change the scale of x-axis from linear to log10:

## Slide 18: Change scale type (continue):
After that, move the cursor to the circled region and choose “Log 2” to change the scale of y-axis from linear to log2:

## Slide 19: Additional feature: Change points into images
Click the circled button
All the points displayed in the current scatter plot are changed into their corresponding images

## Slide 20: Change points into images (continue):
In order to see the images of a particular group of points, you can zoom into a particular region (by using the scroll wheel of the mouse) to resolve the overlapping images
By clicking the circled button (with a different icon), which is located at the same place, all the images are changed back into points

## Slide 21: Additional feature: Reset zoom
After zooming into a particular region, you can click the circled button to reset “zoom”, i.e. return to the original “zoom ratio”

## Slide 22: Additional feature: Heat map
Click the circled button to view the heap map

## Slide 23: Heat map (continue):
In heat-map mode, you can zoom into a particular region by dragging out a rectangular gate (but not by using the scroll wheel of the computer mouse)
Click the circled button again to return to scatter-plot mode

## Slide 24: Additional feature: Histogram
In order to display the histograms, only one set of data can be displayed in the current scatter plot
Click the circled button

## Slide 25: Histogram (continue):
Click “Dataset 2”
Only dataset 1 is displayed in the current scatter plot now

## Slide 26: Histogram (continue):
Tick the circled check-box

## Slide 27: Histogram (continue):
Choose a group of points by dragging out a rectangular gate
Histograms of all the parameters are shown in a pop-up window
View the hidden histograms by using the scroll wheel of mouse

## Slide 28: Histogram (continue)
Click the circled button, which is located at the top-right corner of the pop-up window to return to scatter-plot mode

## Slide 29: Additional feature: Output scatter plot
Press “Shift + P” to save the current scatter plot